BWITT®

POWER SUPPLIER

MODULAR RACK MOUNT RECTIFIER SYSTEM

RCT-2000 SERIES

19 INCH MODULAR

RECTIFIER SYSTEM

INPUT VOLTAGE  220VAC

OUTPUT VOLTAGE  26.7VDC

OUTPUT CAPACITY  3000W

BWT220/24-100AS

- DESCRIPTION

Embedded DC Power System is widely deployed in the Telecom/Industrial environment today, a new generation “Green & Energy Saving” system, aiming at outdoor low power mobile  Telecom/Industrial power market, meeting the trend of Telecom base station development, saving construction cost and shortening the time. The system is highly adaptable with the environment, features with a wide operating temperature range, meeting the demand of high-level users.

- APPLICATION STANDARDS

| Electrical | GB4943-2001 IEC 60950-1 IEC60950-1 |
| --- | --- |
| EMI | EN 55032:2015 EN 55035:2017 EN61000-3-2:2014 EN55022, CLASS A |
| - ESD | - GB17626.2-1998/IEC61000-4-2 |
| - EFT | - GB17626.4-1998/IEC61000-4-4 |
| - SURGE | - GB17626.5-1998/IEC61000-4-5 |
| - DIP | - GB17626.11-1998/IEC61000-4-11 |
| - Conducted Immunity | - IEC61000-4-6 |
| - Radiated Immunity | - IEC61000-4-3 |
| - Environment | - ETSI EN 300 019-2 ETSI EN 300 132-2 RoHS |

- APPLICATION

- FEATURE

- Wide operating range of AC input voltage: 90~290Vac;

- current/voltage switching tech with high efficiency ≥93.2%;

- Perfect battery management, battery temperature;

- Multiple communication ports, easy for networking and remote  management.

- ModbusRS485 /TCP/IP/YDN23 (YD/T 1363) protocol;

- Temperature compensation, LVLD and LVBD protection;

- Automatic battery test function, cycle test, quick test;

- Supports power system &module sleep, efficiency mixing, energy saving;

- Support real-time detection of the operating status of the power system;

- Support alarm real-time detection and reporting;

- Hot-swap able;

- Input over/under voltage protection;

- Output over voltage protection;

- Output over current protection;

- Output short circuit protection;

- Auto current sharing, parallel operation;

- Satellite Communication Ground Station

- SCADA Networks and Data Room

- Mobile Communication

- Fiber Optic network

- Transmission equipment

- Radio base station/cell sites

- Railway & metro

- ESS

- 5G Base Station /Micro Base Station

- Direct-current emergency power units in power stations and chemical plants

MODULAR RECTIFIER SYSTEM

BWITT®

POWER SUPPLIER

TECHNICAL SPECIFICATION

|  | BWT220/24-100AS |
| --- | --- |
| Rectifier Module | BR241800 2PCS |
| Efficiency | 93.2% |
| Power Capacity(Max) | 3000W |
| Input Current | 13.63A |
| Input Protection (Recom) | 17.04A |
| Height | 88mm(2RU) |
| Width | 482mm(19 Inch) |
| Depth | 410mm |
| Weight | 15KG Appro. |
| Classification | IP21 |

| DC OUTPUT |  |
| --- | --- |
| Output Voltage | 21-29VDC 26.7Vdc nom. |
| Output Current(Max) | 110A |
| Equ- charge(V) | 28.2V(21-29Vdc adjustable); |
| Float voltage(V) | 26.7V(21-29Vdc adjustable); |
| Voltage Regulation | ≤±1% |
| Current Sharing | ≤±5% |
| PF | 0.99@220VAC/100A, ≥0.98@220VAC/50A; |
| Ripple voltage | ≤200mV<0-20mHZ> |
| Output Accuracy(V)） | ≤0.6% |
| Load Breaker | 3*32A@1P |
| Battery Breaker | 1*63A@2P |
| BLVD | Yes |
| Shunt | Yes |

| AC INPUT |  |
| --- | --- |
| AC Con-fig. | 220Vac (L+N+PE) |
| Input Voltage Range | 90Vac-290Vac |
| Frequency | 45-65Hz |
| THDi | ＜5%@ full load ＜10% @half load Rated input & Output Voltage |
| Mains Connection | 32A@2P |

MODULAR RECTIFIER SYSTEM

BWITT®

POWER SUPPLIER

| OTHERS |  |
| --- | --- |
| LCD display | Input/output voltage、Frequency、output current、Environment、Rate |
| Power status | City power、Output、Under voltage、overload voltage |
| Operating Temp. | -40 to +55°C (-40 to +131°F) |
| Storage temp | -40 to +70°C (-40 to +158°F) |
| Humidity | 5% to 95% RH non-condensing |
| MTBF | > 10,0000 hours (Ambience : 25°C) |
| Historical Alarm Records | Up to 1000 Units |
| Altitude（M） | ≤3000m,more than 3000m, Rise every 100m, Capacity derated 1% . |

| MONITOR CONTROL |  |
| --- | --- |
| Controller | M30.1.2V2&24 |
| Digital Input | 6 DI |
| Local Interface | Display, Menu Structure Key Pads, LED |
| Remote Monitor | TCP/IP,Rs485,SNMP (Optional),6 alarm Relays |
| Battery Mid-Point | B-V2 /B-V1 |
| User | 4 Group |
| intelligent Wake management | Yes |
| Battery Temp. Sensor | Yes |
| Temperature compensation | Yes |
| Battery Self-Test | Yes |

Contact Bwitt for data sheets and characterization details. Due to product development, specifications are subject to change without prior notice.

Thomas@bwitt.com.cn WWW.BWITT.COM.CN/EN

Add:Bldg 8, Sunshine Industry Park, Xili town,Nanshan , Shenzhen , Guangdong, China

Tel:+86 755 21007420 Fax:+86 755 2983220786  Phone:8618822867573